

N13

N10
General fixtures/furnishings/equipment
N10


To be read with Preliminaries/General conditions.

171/01

FIXED SEATINGN13/SOAP DISPENSRS
· Drawing reference(s):

· Manufacturer: Venesta Washroom Systems, 1st Floor, Units 19-23, St George’s Square, St George’s Shopping Centre, Gravesend, Kent, DA11 0TA.  Tel 01474 353333.

· Product: SGL Island Bench with coat hook rail and shoe rack - double sided, floor fixed (for site framing/erection).Bench with pockets 
· Dimensions: 710mm deep x 1700mm high. Incorporating standard seat height 440mm to 460mm. Available in 900mm, 1600mm and 2300mm lengths  
· Support frame: Steel frame with height adjustable nylon foot. Legs supports centred at 700mm.

· Colour/finish – frame: Light Grey (RAL9006) Powdercoated, SGL – From the Venesta standard colour range. 
· Seat: 2 sets of  1 No  13mm Solid Grade Laminate (SGL), with pockets , all edges radiused and polished (black). Cut ends to be refinished by site.
· Fixings supplied - Stainless steel screws.  
· Coat hook rail and hooks: Satin anodised aluminium coat hook (RIFCRH-0901-IND) supplied loose to be fixed to 140x13mm SGL slat.
· Dimensions: Coat hook Rail set at 1695mm from finished floor. 

· Shoe rack: Steel frame with SGL Plank with pockets .
· Colour/finish – frame: Light Grey (RAL9006) Powdercoated

· Slats: 2No 13mm Solid Grade laminate with pockets all edges radiused and polished(Black) 
