

N13

N10
General fixtures/furnishings/equipment
N10


To be read with Preliminaries/General conditions.

145/01

VANITY AND WASHROOM FURNITUREN13/vVAN                                      

· Drawing reference(s):

· Manufacturer and reference: Venesta Washroom Systems, 1st Floor, Units 19-23, St George’s Square, St George’s Shopping Centre, Gravesend, Kent, DA11 0TA.  Tel 01474 353333.

· Vanity Unit: Profile K4 to receive a fully inset washbasin.
· Top: 555mm overall width bed with post-formed and radiused 100mm apron (downstand), reinforced with moisture resistant chipboard divisions and ends with 25mm MDF back rails all properly framed together including 18 x 18 x 75 softwood corner blocks, glued and screwed.
· Board: 680kg/m³ grade moisture resistant Chipboard faced each side with High Pressure Laminate (HPL).
· Underpanel type: 680kg/m³ grade moisture resistant Chipboard faced each side with High Pressure Laminate (HPL).
Underpanel edge treatment: Insert Edge Treatment
· Panel Thickness: 18mm nominal.

· Underframe: 18mm nominal thick high performance melamine faced 650kg/m³ grade moisture resistant chipboard (MFC).

Overall bed height: Insert Overall Bed Height
· Colour/Finish: From the Venesta standard colour range.

· Method of fixing panels: Concealed plastic clips fixed to edge of underframe cutouts and reverse of facing panels.

· Joint treatment: Nominal 70mm wide flashgap between each panel section 

· Components/Accessories: Angle brackets, screws and plugs for fixing underframe to floor and vanity top to underframe and back wall.

· Included features: Removable access panels.
· Pre-plumbing: Sanitary appliances, as specified in section N13-335, pre-fixed and sealed to vanity unit by Venesta, all factory assembled.

Edge treatment options

HPL

1mm matching or contrasting ABS.


Postformed 
Post formed horizontal edges with 1mm matching or contrasting ABS vertical edges.

Vanity height options
Suggested vanity bed heights are as follows :-

Key Stage 1 = 600mm (apron reduced to 200mm).

Key Stage 2 = 675mm.

Key Stage 3 = 750mm.

Key Stage 4 to Adult = 800mm or 850mm.

