

N13

N10
General fixtures/furnishings/equipment
N10


To be read with Preliminaries/General conditions.

145/01

VANITY AND WASHROOM FURNITUREN13/vVAN                                      

· Drawing reference(s):

· Manufacturer and reference: Venesta Washroom Systems, 1st Floor, Units 19-23, St George’s Square, St George’s Shopping Centre, Gravesend, Kent, DA11 0TA.  Tel 01474 353333.

· Vanity Unit: Profile K3 to receive a fully inset washbasin.

· Top: 555mm overall width bed with post-formed and radiused 100mm apron (downstand) and coved, radiused 75mm upstand, reinforced with moisture resistant chipboard divisions and ends with 25mm MDF back rails all properly framed together including 18 x 18 x 75 softwood corner blocks, glued and screwed
· Board: 680kg/m³ grade moisture resistant Chipboard faced each side with High Pressure Laminate (HPL).
· Underpanel type: High performance Melamine Faced 680kg/m³ grade moisture resistant Chipboard (MFC).
· Underpanel edge treatment: 1mm matching or contrasting ABS.
· Panel Thickness: 18mm nominal.

· Underframe: 18mm nominal thick high performance melamine faced 650kg/m³ grade moisture resistant chipboard (MFC).

· Overall bed height: insert vanity height here.

· Colour/Finish: From the Venesta standard colour range.

· Method of fixing panels: Concealed plastic clips fixed to edge of underframe cutouts and reverse of facing panels.

· Joint treatment: Nominal 70mm wide flashgap between each panel section 

· Components/Accessories: Angle brackets, screws and plugs for fixing underframe to floor and vanity top to underframe and back wall.

· Included features: Removable access panels.

· Pre-plumbing: Sanitary appliances, as specified in section N13-335, pre-fixed and sealed to vanity unit by Venesta, all factory assembled.

Vanity height options
Suggested vanity bed heights are as follows :-

Key Stage 1 = 600mm (apron reduced to 200mm).

Key Stage 2 = 675mm.

Key Stage 3 = 750mm.

Key Stage 4 to Adult = 800mm or 850mm.

